## Slide 1: Aviation Academy Update
School Board Work Session
November 19, 2019

## Slide 2: Agenda
Condition of existing facility
Timeline on lease negotiation
Relocation option

## Slide 3: Existing Aviation Academy
Existing leased space
Red-hashed areas not currently used
Yellow-hashed area out of service in December

## Slide 4: Aviation Academy - Roof

## Slide 5: Aviation Academy - Roof
Notes: You

## Slide 6: Aviation Academy - HVAC

## Slide 7: Aviation Academy - Ceiling

## Slide 8: Evidence of Roof leaks

## Slide 9: Cost considerations at airport facility
Maintenance costs in June FY2019
  HVAC cost $170K
  Roof cost $ 15K
  Abatement requirements $ 46K
Maintenance costs in FY2020 (July – Nov)
  Roof work $ 13K
  Remediation work $ 11K
  Portable HVAC units $ 61K
Maintenance costs (FY2009 – FY2018) $ 448K

## Slide 10: Timeline on lease negotiation
May 2018 – Sept. 2019 – discussion of new lease for existing space
May 2018 – Sept. 2019 – discussion of new lease for existing space
Sept. 25th – PAC leadership requested meeting to discuss:
          The results of the environmental report and required actions
          The future of a NNPS lease agreement
          The timing of termination of occupancy by the Newport News School Board
Sept. 27th – Plant services staff tour Aviation Academy with PAC staff to assess environmental issues identified
in the report provided at Sept. 25th meeting
Sept. 30th – NNPS plant services staff walk through to determine actions needed
Mold remediation, ceiling tile removal / replacement, dry wall removal / replacement

## Slide 11: Relocation option
Existing leased space is 27,837 square feet – only 16,204 square feet is currently used
Maintenance issues / expenses have increased significantly
New lease agreement has not been reached – PAC leases must adhere to FAA guidelines which is not in NNPS’ best interest given the age and condition of the building
Planned move at end of year would be better than a hurried move during the school year in response to a building system failure
Area at Denbigh High School can accommodate Aviation Academy – space identified is 16,167 square feet

## Slide 12
Aviation Academy
Denbigh High School

## Slide 13
Proposed Floor Plan
NOON
AM
PM
Denbigh H.S. Site Plan
Existing Denbigh H.S. Floor Plan
Proposed Aviation Academy Floor Plan

## Slide 14
Proposed Floor Plan

## Slide 15: What would need to be done at DHS?
Relocated classrooms can be accommodated in the building and in an 8-classroom modular unit
Ten classrooms to be relocated (Art -1, JROTC-1, SpEd-3, World Languages-5)
Provide eight-classroom modular unit
  Lease for 36 months - $346K
  Lease for 60 months - $529K
  Purchase - $550K
Other modifications needed to school
Create hallway to modular classrooms
Provide sidewalk and canopy
Provide accommodations for wind tunnel – roof, wind deflector wall
Create large exterior doorway in airframe lab
Relocate furniture and equipment (wind tunnel, turbines, airframes, toolboxes, etc.)

## Slide 16: Next Steps
To ensure relocation for beginning of next school year:
      Order modular classrooms and begin necessary permitting process with city
      Complete design work
      Create scope of work to determine funding needs for construction
      Begin construction planning
      Schedule work for summer completion
Work with PAC to identify location at airport for future Aviation Academy
Work with city manager to identify private investment to fund facility construction